## Version_History
FNM Scope for FNM DB24M3
(Production 3/20/2024)
Revision History – Final Scope: 1/17/2024, Late Model Scope Change Request Deadline: 2/12/2024
Effective Date | Version | Description
2024-01-17 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
2024-03-18 | 2 | Add additional information
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name | Project Key | Capacity (MW) | POD | Additional Information
1 | PGAE | GWFPWR_1_HPPBT1 | Hanford Peaker Plant | 21PREC17090 | 99.4 | GWF HANFORD SW STA 115 KV Bus | New Non-Generation resource
2 | PGAE | HENRTA_6_ELCBX2 | Electrolyte | 22CONV23814 | 99.4 | HENRTA 70 kV bus | New Aggregate Non-Generation resource CHILD_RES_ID: HENRTA_6_ELCBT1, 54.799 MW, CHILD_RES_ID: HENRTA_6_ELCBT2, 54.799 MW
3 | PGAE | MALAGA_1_ACDBX2 | Acid | 22CONV25411 | 97 | MALAGA 115kV bus | New Aggregate Non-Generation resource CHILD_RES_ID: MALAGA_1_ACDBT1, 48.5 MW, CHILD_RES_ID: MALAGA_1_ACDBT2, 48.5 MW
4 | SCE | ALAMIT_2_AESBT2 | Alamitos Energy Storage 2 | 22NGR22215 | 82 | Alamitos 230kV Bus | New Non-Generation resource
5 | SCE | INYOKN_1_IKSSR1 | Inyokern Solar 1203 | 23GEN31820 | 19.9 | INYOKN 115KV BUS | New Solar resource
6 | SCE | INYOKN_1_IKSSR2 | Inyokern Solar 1281 | 23GEN31821 | 11.9 | INYOKN 115KV BUS | New Solar resource
7 | SCE | ROMOLA_5_MPBBT4 | Menifee Power Bank 4 | 23NGR31427 | 110 | Valley 500kV Bus | New Storage resource
8 | PGAE |  | Cal Flats North ANIRA | 22RIG24116 | 130 |  | RIG Reconfiguration
9 | PGAE |  | GREENLEAF ENERGY UNIT 2; Unit 1;Update IP Address 09-2023 | 23RIG31008 | 47 |  | RIG Reconfiguration
10 | PGAE |  | AKINGS_6_AMESR1 | 23RIG31929 | 123 |  | RIG Reconfiguration
11 | PGAE |  | Strauss Wind Farm | 23RIG32120 | 95.25 |  | RIG Reconfiguration
12 | PGAE |  | LTBERA_1_LB1SR1 | 23RIG32979 | 40 |  | RIG Reconfiguration
13 | SCE |  | Pacific Wind Site Project | 23RIG30329 | 140 |  | RIG Reconfiguration
14 | SCE |  | Mountain View RIG | 23RIG31396 | 66.6 |  | RIG Reconfiguration
15 | SCE |  | Dixie Valley Power Plant RIG Project | 23RIG32879 | 60 |  | RIG Reconfiguration
16 | SDGE |  | Vista Energy Storage; Vista Nerc Bal update | 23RIG32118 | 40 |  | RIG Reconfiguration

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | PGAE | 19TRANS8685 | Vaca Dixon Area Reinforcement | ET3987
2 | PGAE | 19TRANS8685 | Vaca Dixon Area Reinforcement | ET4348
3 | PGAE | 19TRANS8685 | Vaca Dixon Area Reinforcement | ET4349
4 | PGAE | 19TRANS8840 | Gates 500 kV Dynamic Voltage Support | ET4068
5 | PGAE | 19TRANS8840 | Gates 500 kV Dynamic Voltage Support | ET4069
6 | PGAE | 21TRANS15394 | Round Mountain Area 500kV Dynamic Reactive Support | ET4570
7 | PGAE | 21TRANS15394 | Round Mountain Area 500kV Dynamic Reactive Support | ET4571
8 | PGAE | 21TRANS15394 | Round Mountain Area 500kV Dynamic Reactive Support | ET4572
9 | PGAE | 21TRANS19206 | Solano 4 Wind Generation Interconnection Project | ET4712
10 | PGAE | 21TRANS19847 | Caribou Islanding Area PSPS Mitigation Substation Upgrades - East Quincy | ET4793
11 | PGAE | 21TRANS20299 | North Bundle N-29 | ET4843
12 | PGAE | 22TRANS23953 | Cascade Energy Storage Expansion Project (Q1835) | ET5137
13 | PGAE | 23TRANS32859 | Calflax Substation ¿ Install Bank 2 | ET5294
14 | PGAE | 23TRANS32859 | Calflax Substation ¿ Install Bank 2 | ET5295
15 | PGAE | 23TRANS32859 | Calflax Substation ¿ Install Bank 2 | ET5296
16 | SCE | 18TRANS7961 | Techren Solar TOT809 Q1339 | ET3821
17 | SCE | 20TRANS14106 | SCE Centralized Remedial Action Scheme (CRAS) | ET5271
18 | SCE | 23TRANS33496 | Bishop RAS Modification | ET5309

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | APS | PAL | 23EMS33577
2 | AVA_BA | - ICCP mapping to AVA CIM model | 23EMS33192
3 | AVA_BA | - Note: the ratings in this submittal are SPRING = High1/High2, and WINTER = High3/High4 | 23EMS33193
4 | AZPS_BA | Contingency Definition - Multiple contingency updates at Boothill and Hoodoo Wash substations | 23EMS31761
5 | AZPS_TOP | Contingency Definition - Updated contingency for new RAB cut-in and CIX-DLN 500kV Line | 23EMS33535
6 | AZPS_TOP | Transmission Line - Updated Impedance for WMTTP-BL | 23EMS33536
7 | AZPS_TOP | Transmission Line - Updated Impedance for VE-CTTIE | 23EMS33537
8 | AZPS_TOP | Transmission Line - Updated Ratings for FDM-WPK | 23EMS33538
9 | AZPS_TOP | Transmission Line - Updated Impedance for CZ-STRTP | 23EMS33539
10 | AZPS_TOP | Transmission Line - Updated Impedance for CTTIECKD | 23EMS33540
11 | AZPS_TOP | Transmission Line - Updated rating and impedance for CQ-WMTTP | 23EMS33541
12 | AZPS_TOP | Substation\Load - Generator SLR-9 Moved To IDX 12KV, 012-1NA | 23EMS33542
13 | AZPS_TOP | Substation\Load - Generator SLR-2 moved To IDX 12KV, 017-1NA | 23EMS33543
14 | AZPS_TOP | Substation\Load - Updated MW,MVAR,&KV measurements for Line end CQ-WMT2, Line end CQ-WMTTP, Line end WMTTP-BL | 23EMS33544
15 | AZPS_TOP | Substation\Load - Moved PV units to IDX | 23EMS33545
16 | AZPS_TOP | Substation\Load - Added Rabbit Canyon substation | 23EMS33546
17 | AZPS_TOP | Transmission Line - Added MK-RAB 500kV Line | 23EMS33547
18 | AZPS_TOP | Transmission Line - Added CDR-RAB 500kV Line | 23EMS33548
19 | AZPS_TOP | Transmission Line - Removed MK-CDR 500kV Line | 23EMS33549
20 | AZPS_TOP | Transmission Line - Added 69kV line CQ-WMT#2 | 23EMS33550
21 | AZPS_TOP | Generator - Added Generators BESS A (HSYA_5_SSTR4_BESS) & PV A (HSYA_5_SSTR4) | 23EMS33551
22 | AZPS_TOP | Substation\Load - Added Sunstreams 4 | 23EMS33552
23 | AZPS_TOP | Transmission Line - Added line to CHKX-SS4 | 23EMS33553
24 | AZPS_TOP | Transformer - Added 69kV Switching fields CB17, CBUSNBUS, PV-PY, & XFMR19H | 23EMS33554
25 | AZPS_TOP | Transformer - Added shunt capacitor CB17 (14.4MVAR) | 23EMS33555
26 | AZPS_TOP | Transformer - Added Transformer XFMR19 A | 23EMS33556
27 | AZPS_TOP | Substation\Load - Added Conforming load FDR20 A | 23EMS33557
28 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added 12kV Switching fields CBS-NBS, FDR17, FDR18, FDR20, FDR21, & XFMR19L | 23EMS33558
29 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Switching fields 557, 653, 857, & 953 | 23EMS33559
30 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added breaker MCM562 | 23EMS33560
31 | AZPS_TOP | Generator - Generator SLR-13 Moved To IDX 12KV, 032-1NA | 23EMS33561
32 | AZPS_TOP | Generator - Generators SLR-1 & SLR-9 Moved To IDX 12KV, 027-1NA & 033-1NA | 23EMS33562
33 | AZPS_TOP | Transmission Line - Added line end DLN-CIX 500kV Line | 23EMS33563
34 | AZPS_TOP | Generator - Generators SLR-5 & SLR-9 to IDX 12KV, 009-1NA & 028-1NA | 23EMS33564
35 | AZPS_TOP | Generator - Generators SLR-12 & SLR-4 to IDX 12KV, 008-1NA & 010-1NA | 23EMS33565
36 | AZPS_TOP | Generator - To IDX 12KV, 024-1GA & 025-1GA | 23EMS33566
37 | AZPS_TOP | Generator - Moved to IDX 026-1NA | 23EMS33567
38 | BANC_BA | Transmission Line - Updated RDF ID in ICCP measurement report for CAN MW for CAN-SUJ per Jose email 11/17. | 23EMS32541
39 | BANC_BA | Breaker(s)\ Disconnect(s) - Removal of empty spaces in ICCP Object ID per Kiels email 10/24. | 23EMS32542
40 | BANC_BA | Transformer - CAM XFMR1 emergency replacement. New Impedance and Ratings. | 23EMS32543
41 | BANC_BA | Breaker(s)\ Disconnect(s) - Normal Position of multiple disconnects changed. | 23EMS32544
42 | BANC_BA | Breaker(s)\ Disconnect(s) - Removal of D511. D513, and coresponding connectivity node. | 23EMS32545
43 | BANC_BA | Transmission Line - Updated RDF ID in ICCP measurement report for CAN MW for CAN-SUJ per Jose email 11/17. | 23EMS32689
44 | BANC_BA | Breaker(s)\ Disconnect(s) - Removal of empty spaces in ICCP Object ID per Kiels email 10/24. | 23EMS32690
45 | BANC_BA | Transformer - CAM XFMR1 emergency replacement. New Impedance and Ratings. | 23EMS32691
46 | BANC_BA | Breaker(s)\ Disconnect(s) - Normal Position of multiple disconnects changed. | 23EMS32692
47 | BANC_BA | Breaker(s)\ Disconnect(s) - Removal of D511. D513, and coresponding connectivity node. | 23EMS32693
48 | BANC_BA | Substation\Load - New ICCP at Waldon | 24EMS33962
49 | BANC_BA | Breaker(s)\ Disconnect(s) - Normal status change to multiple pieces of equipment. | 24EMS33963
50 | BANC_BA | Generator - Update to unit max P value. | 24EMS33964
51 | BANC_BA | Transformer - Transformer ratings and emergency durations | 24EMS34633
52 | BANC_BA | Transmission Line - Line ratings and emergency durations | 24EMS34634
53 | BCHA_RC | RAS/ICCP - List of additional ICCP points to be sent. Upload requested by Rachel Melton. | 23EMS32205
54 | BCHA_RC | Generator - G3 Pmax updated | 23EMS33407
55 | BCHA_RC | Generator - G2 Pmax updated | 23EMS33408
56 | BCHA_RC | - Updated ICCP mapping file | 23EMS33409
57 | BPAT_BA | Breaker(s)\ Disconnect(s) - Fixed PCB names. | 24EMS33702
58 | BPAT_BA | Breaker(s)\ Disconnect(s) - Shoo-fly added. | 24EMS33703
59 | BPAT_BA | Generator - BPA Dynamic generator model mapping | 24EMS33704
60 | BPAT_BA | Contingency Definition - BPA Contingency List | 24EMS33705
61 | BPAT_BA | RAS - Spring Creek RAS update due line rating update. | 24EMS35231
62 | BPAT_BA | RAS - Spring Creek RAS update due line rating update. | 24EMS35238
63 | CEN_BA | Breaker(s)\ Disconnect(s) - UPDATE NORMAL OPEN STATUS OF SWITCHES | 23EMS32899
64 | CHPD_BA | Generator - Periodic MOD-26/27 Generator modeling update for Rocky Reach unit C6 | 23EMS33119
65 | CHPD_BA | Transformer - Updated transformers R and X values | 23EMS33415
66 | CHPD_BA | - CHPD has further reviewed bus limits in advance of the 4/1 changes to the SOL methodology; updated limits are being provided for the RC model release | 24EMS34628
67 | EPE_TOP | Transformer - Removal of T4 transformer at Montwood Substation | 23EMS33309
68 | EPE_TOP | Substation\Load - Removal of 115kv Cox Substation | 23EMS33310
69 | EPE_TOP | Substation\Load - Additon of 115kv Eastlake Temp Substation | 23EMS33311
70 | EPE_TOP | Substation\Load - Additon of 115kv Verde Substation | 23EMS33312
71 | GCPD_TOP | Substation\Load - A new substation is being constructed. This substation will need its own new oneline diagram. This subsation will have taps leaving toward North Quincy (existing) and West Canal (new substation). | 23EMS32223
72 | GCPD_TOP | Substation\Load - A new substation is being constructed. This substation will need its own new oneline diagram. This subsation will have taps leaving toward Quincy Plains (existing) and Quincy Foothills (new substation). | 23EMS32224
73 | GCPD_TOP | Add MOBTs at P_RAPIDS station | 23MRKT32753
74 | GRID_TOP | Contingency Definition - Ten West Series Compensation Station -Delaney to Colorado River T-line | 23EMS32351
75 | HHWP_TOP | Warnerville-Standiford #7 and #8 line ratings update | 23EMS33222
76 | IID_TOP | Generator - IID new Nelson substation built to accommodate Viking Hybrid project. | 23EMS32204
77 | IID_TOP | Substation\Load - IID new Nelson substation built to accommodate Viking Hybrid project, ICCP objects | 23EMS32366
78 | IID_TOP | Substation\Load - This is part of the new El Centro Bank # 5 work, the 92kV B line from El Centro to Drop4 is in the works of being relocated to bay 20 from Bay 9. | 23EMS33128
79 | IID_TOP | Substation\Load - This is part of the new El Centro Bank # 5 work, the 92kV J line from El Centro to Rockwood is in the works of being relocated to bay 21 from Bay 20. | 23EMS33129
80 | IID_TOP | Substation\Load - This is part of the El Centro Bank # 5 work, the 92kV LH line from el centro oto Aten is in the works of being relocated to bay 23 from Bay 21. | 23EMS33130
81 | IPCO_BA | Shunt Cap\Reactor\ SVD¿s - Update shunt equipment settings for BPA shunt equipment at Bridge Substation in IPCO BA | 23EMS32339
82 | IPCO_BA | - Updated Shunt Equipment parameters | 24EMS33720
83 | IPCO_BA | - Updated variances to reduce nuisance 35kV violations in HANA | 24EMS33721
84 | IPCO_BA | Generator - | 24EMS33722
85 | IPCO_BA | Generator - | 24EMS33723
86 | IPCO_BA | Generator - | 24EMS33724
87 | IPCO_BA | Transformer - | 24EMS33725
88 | IPCO_BA | Transformer - | 24EMS33726
89 | IPCO_BA | Transformer - | 24EMS33727
90 | IPCO_BA | Transformer - | 24EMS33728
91 | IPCO_BA | Transformer - | 24EMS33729
92 | IPCO_BA | Transformer - | 24EMS33730
93 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33731
94 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33732
95 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33733
96 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33734
97 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33735
98 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33736
99 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33737
100 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33738
101 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33739
102 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33740
103 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33741
104 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33742
105 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33743
106 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33744
107 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33745
108 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33746
109 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33747
110 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33748
111 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33749
112 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33750
113 | IPCO_BA | Transmission Line - | 24EMS33751
114 | IPCO_BA | Substation\Load - | 24EMS33752
115 | IPCO_BA | Breaker(s)\ Disconnect(s) - | 24EMS33753
116 | IPCO_BA | Substation\Load - | 24EMS33754
117 | IPCO_BA | Transmission Line - | 24EMS33755
118 | IPCO_BA | - | 24EMS33756
119 | IPCO_BA | - | 24EMS33757
120 | IPCO_BA | Generator - Updated D-curve for DNPR1 | 24EMS34188
121 | IPCO_BA | Transformer - Addition of Transformers: MBE3, T062 | 24EMS34189
122 | IPCO_BA | Generator - Addition of new Battery Generator with resource ID : HMWY_5_BSP2 | 24EMS34190
123 | IPCO_BA | Transmission Line - Update of Line from LMWP-LIME to LMWP-HGTN | 24EMS34191
124 | IPCO_BA | Transmission Line - Update of Line from AGCK-DILN to AGCK-BKMG | 24EMS34192
125 | IPCO_BA | Generator - Name change of Synchronous Machines to JBRG_EQU1, JBRG_EQU2, JBRG_EQU3, JBRG_EQU4 | 24EMS34194
126 | IPCO_BA | Generator - Generator is now modeled down to 12.5kV level | 24EMS34195
127 | IPCO_BA | Generator - Name change of Synchronous Machine to SCL_EQU | 24EMS34196
128 | IPCO_BA | Transformer - Removal of Transformer: T2 | 24EMS34197
129 | IPCO_BA | Transformer - Addition of Transformer: T132 | 24EMS34198
130 | IPCO_BA | Transformer - Addition of Transformer: T131 | 24EMS34199
131 | IPCO_BA | Transformer - Addition of Transformer: T132, T133 | 24EMS34200
132 | IPCO_BA | Transformer - Addition of Transformer: MBE | 24EMS34201
133 | IPCO_BA | Transformer - Addition of Transformer: T131 | 24EMS34202
134 | IPCO_BA | Breaker(s)\ Disconnect(s) - Updated name change of Breakers/Disconnects: 131D to 101D, 131X to 101B, 131Y to 101C | 24EMS34203
135 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: DUM1 | 24EMS34204
136 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: CUT1, CUT2, CUT3, CUT4 | 24EMS34205
137 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: 015A, 016A, MBEZ, 015D, 016D, 017X, 017Y, 017Z, 061B, 062B, 062C, 062F, 063B, 063C, 063F, 064B, 064C, MBEF, MBEX | 24EMS34206
138 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: 113T3_STR110, FLY1, JMP111 | 24EMS34207
139 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: 011B, 011C, 011D, 011X, 012B, 012C, 012D, 013B, 013C, 013D, 014C, 014D, 051L | 24EMS34208
140 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: SFHW, SFNL, SFQT | 24EMS34209
141 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: T1NC, T2NC, T3NO, T4NO | 24EMS34210
142 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: CUT4, CUT5, CUT6, CUT7, CUT8, CUT11, CUT12 | 24EMS34211
143 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: 231D | 24EMS34212
144 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: 105T6, CPTWH, JMPKL, JMPKM, JMPKW, JMPMK, JMPMW, JMPWE | 24EMS34213
145 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: 057T4 | 24EMS34214
146 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of new Breakers/Disconnects: 081T1, 081T2 | 24EMS34215
147 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of new Breakers/Disconnects: 051B, 051C, 052B, 052C, 053B, 053C, 054B, 054C | 24EMS34216
148 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of new Breakers/Disconnects: CUT3_2 | 24EMS34217
149 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of new Breakers/Disconnects: CUT1_2, CUT2_2, CUT3_2 | 24EMS34218
150 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of new Breakers/Disconnects: 011Z, 012Z, 015A, 016A, 017A, 018A, 021Z, 022Z, 132Z, 131L, 132L, CUT1 | 24EMS34219
151 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of new Breakers/Disconnects: 131Z, 102X, 131X | 24EMS34220
152 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of new Breakers/Disconnects: 011A, 011Z, 012A, 013A, 014A, 016A, 021Z, 022Z, 131L, 104X | 24EMS34221
153 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of new Breakers/Disconnects: 131Z, 132Z, 131X, 132X | 24EMS34222
154 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of new Breakers/Disconnects: 041A, 042A, 043A, 044A, 045Z, 102X, 041D, 042D, 043D, 044D, 132L | 24EMS34223
155 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of new Breakers/Disconnects: MBE_BKR, 061X, 131L | 24EMS34224
156 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of new Breakers/Disconnects: 311A, 312A, 310B, 311B, 311C, 312B, 312C, 312T, CUT1, CUT2 | 24EMS34225
157 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of new Breakers/Disconnects: 015A, 016A, 017A, 018A, 021Z, 022Z | 24EMS34226
158 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of new Breakers/Disconnects: 015A, 021Z, 022Z | 24EMS34227
159 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of new Breakers/Disconnects: 011A, 012A, 011B, 011C, 011D, 011E, 011X, 011Y, 012B, 012C, 012D, 131L | 24EMS34228
160 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of new Breakers/Disconnects: 061Z | 24EMS34229
161 | IPCO_BA | Transmission Line - Addition of new line: BKMG-DILN | 24EMS34230
162 | IPCO_BA | Substation\Load - Addition of new substation: BKMG | 24EMS34231
163 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: 061A, 061B, 061C, 061D, 061F, 061T | 24EMS34232
164 | IPCO_BA | Substation\Load - Removal of substation: LIME | 24EMS34233
165 | IPCO_BA | Transmission Line - Removal of lines: LIME-DRKE & LIME-HGTN | 24EMS34234
166 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 24EMS34235
167 | IPCO_BA | - CIM export of IPCO_BA FNM. | 24EMS34236
168 | IPCO_BA | - Signed Request Form for FNM Late Scope Change. | 24EMS34237
169 | IPCO_BA | Transmission Line - Update | 24EMS34625
170 | LDWP_BA | Substation\Load - ICCP - Update INT, ELN, BAR, PER | 23EMS33568
171 | LDWP_BA | Generator - Dynamic Models ELAND PV,BESS | 23EMS33569
172 | LDWP_BA | Generator - Dynamic Models for INT U3,U4 | 23EMS33570
173 | LDWP_BA | Substation\Load - Dynamic Models for INT U3,U4 and ELAND PV,BESS | 23EMS33571
174 | LDWP_BA | Substation\Load - CIM File - Update INT, ELN, BAR, PER | 23EMS33572
175 | LDWP_BA | Transmission Line - Update Transmission Line Rating Time Durations | 24EMS34635
176 | LDWP_BA | Transmission Line - Update Transmission Line Rating Time Durations | 24EMS34636
177 | NEVP_TOP | RAS - Added ICCP for GT unit trip selection | 23EMS32562
178 | NEVP_TOP | RAS - Added ICCP for RAS Arming | 23EMS32563
179 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32564
180 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32565
181 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32566
182 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32567
183 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32568
184 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32569
185 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32570
186 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32571
187 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32572
188 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32573
189 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32574
190 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32575
191 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32576
192 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32577
193 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32578
194 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32579
195 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32580
196 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32581
197 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32582
198 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32583
199 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32584
200 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32585
201 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32586
202 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32587
203 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32588
204 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32589
205 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32590
206 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32591
207 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32592
208 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32593
209 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32594
210 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32595
211 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32596
212 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32597
213 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32598
214 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32599
215 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32600
216 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32601
217 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32602
218 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32603
219 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32604
220 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32605
221 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32606
222 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32607
223 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32608
224 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32609
225 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32610
226 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32611
227 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32612
228 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32613
229 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32614
230 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32615
231 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32616
232 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32617
233 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32618
234 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32619
235 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32620
236 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32621
237 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32622
238 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32623
239 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32624
240 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32625
241 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32626
242 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32627
243 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32628
244 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32629
245 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32630
246 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32631
247 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32632
248 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32633
249 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32634
250 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32635
251 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32636
252 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32637
253 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32638
254 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32639
255 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32640
256 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32641
257 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32642
258 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32643
259 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32644
260 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32645
261 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32646
262 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32647
263 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32648
264 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32649
265 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32650
266 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32651
267 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32652
268 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32653
269 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32654
270 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32655
271 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32656
272 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32657
273 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32658
274 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32659
275 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32660
276 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32661
277 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32662
278 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32663
279 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32664
280 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32665
281 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32666
282 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32667
283 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32668
284 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32669
285 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32670
286 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32671
287 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32672
288 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32673
289 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32674
290 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32675
291 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32676
292 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32677
293 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32678
294 | NEVP_TOP | Contingency Definition - Updated/Added Contingency Definition | 23EMS32679
295 | NEVP_TOP | Generator - Moved gen from 120 bus to 34.5 bus, updated gen characteristics | 23EMS33272
296 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Added high side and low side switches for new gen | 23EMS33273
297 | NEVP_TOP | Transformer - Added XFMR #2 to new PV Gen | 23EMS33274
298 | NEVP_TOP | Transformer - Updated scheduled tap position for AT-4 | 23EMS33275
299 | NEVP_TOP | Transformer - Updated scheduled tap position for AT-5 | 23EMS33276
300 | NEVP_TOP | Transformer - Updated scheduled tap position for AT-6 | 23EMS33277
301 | NEVP_TOP | Transformer - Updated scheduled tap position for AT-1 | 23EMS33278
302 | NEVP_TOP | Generator - Addition of two combustion turbines at Silverhawk | 23EMS33279
303 | NEVP_TOP | Substation\Load - Addition of breakers at Silverhawk | 23EMS33280
304 | NEVP_TOP | Generator - Addition of ICCP for Reid Gardner BESS unit | 23EMS33281
305 | NEVP_TOP | Generator - Addition of ICCP for NVE Dry Lake PV/BESS plant | 23EMS33282
306 | NEVP_TOP | Generator - Addition of ICCP for Arrow Canyon PV/BESS plant | 23EMS33283
307 | NEVP_TOP | Generator - Addition of ICCP for Gemini Solar PV/BESS plant | 23EMS33284
308 | NEVP_TOP | Shunt Cap\Reactor\ SVD¿s - Changed how reactors were modelled to be less confusing. | 23EMS33285
309 | NEVP_TOP | Transmission Line - Removal of WTY-TCY_1107 line | 23EMS33286
310 | NEVP_TOP | Transmission Line - Removal of WTY-TCY_1107 line | 23EMS33287
311 | NEVP_TOP | Substation\Load - ZBRs connecting NEVP and LADWP sections of the Crystal 500 kV bus removed. Used physical breakers to connect the equipment. | 23EMS33288
312 | NEVP_TOP | Shunt Cap\Reactor\ SVD¿s - Reactor #5 is connected directly to the bus now, no ZBR is needed. | 23EMS33289
313 | NEVP_TOP | Substation\Load - Substation moved to outside of NEVP | 23EMS33290
314 | NEVP_TOP | Substation\Load - Bus reconfiguration was changed | 23EMS33291
315 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of pseudo switches in model for line retermination | 23EMS33292
316 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removal of pseudo switches in model for bus reconfiguration | 23EMS33293
317 | NEVP_TOP | Shoofly Install\ Removal - Removal of shooflys in model | 23EMS33294
318 | NEVP_TOP | update the impedance on Harry Allen - crystal #4 | 24EMS33821
319 | NWMT | Update Rimrock Par X Value to 0.2 | 24EMS34327
320 | NWMT | Add tap values to COLSTRI$ and BRDVIEW XFMRS | 24EMS34332
321 | NWMT_TOP | Shunt Cap\Reactor\ SVD¿s - Shunt device automatic setpoints - RC West Voltage Working Group | 23EMS32561
322 | NWMT_TOP | Substation\Load - Voltage monitor buses - RC West Voltage Working Group | 23EMS33194
323 | NWMT_TOP | Transmission Line - Misc. system-wide changes. | 23EMS33271
324 | NWMT_TOP | Transmission Line - RTWG FAC-011/FAC-014 Emergency Ratings | 24EMS35014
325 | PACE | Red Butte RAS Update | 23EMS33075
326 | PAC_TOP | Transmission Line - Updates to impedance for CLOVER branch | 23EMS33159
327 | PAC_TOP | Breaker(s)\ Disconnect(s) - Removal of 1 jumper | 23EMS33160
328 | PAC_TOP | Breaker(s)\ Disconnect(s) - Updates to SCADA mapping for CB 20. | 23EMS33161
329 | PAC_TOP | Transmission Line - Removal of BONANZA$_MONA_Z1 branch | 23EMS33162
330 | PAC_TOP | Transmission Line - Removal of 1 jumper and branch to JORDANEL. Updates to SCADA measurements for MAYFLOWR branch | 23EMS33163
331 | PAC_TOP | Transmission Line - Removal of 1 jumper and branch to HUNTINGT | 23EMS33164
332 | PAC_TOP | Transmission Line - Removal of 2 jumpers and 1 branch. Updates to SCADA measurements for CLOVER branch. Updates to 345kV switch names | 23EMS33165
333 | PAC_TOP | Breaker(s)\ Disconnect(s) - Removal of 2 jumpers. Updates to names for 2 switches | 23EMS33166
334 | PAC_TOP | Transmission Line - Addition of SCADA measurements for 230kV bus and branch to RENO | 23EMS33167
335 | PGE_BA | Substation\Load - Divide PGE substations into West, East, Center and South areas | 23EMS33120
336 | PGE_BA | Substation\Load - Update Orenco SCADA points | 23EMS33121
337 | PGE_BA | Substation\Load - Request to delete PGE Aggregated QF Solar Representation in the Market Model | 23EMS33122
338 | PGE_BA | Substation\Load - Build the new Tonquin substation | 23EMS33123
339 | PGE_BA | Contingency Definition - PGE contingency defination udpate | 23EMS33124
340 | PGE_BA | - List of ICCP points mapping | 23EMS33125
341 | PGE_BA | - Model Difference report | 23EMS33126
342 | PGE_BA | - Model Updates for PGE: CIMMXL model file | 23EMS33127
343 | PGE_BA | - FAC-011 Shunt Equipemnt data submission (no Changes) | 24EMS34365
344 | PGE_BA | - FAC-011 Emergency Rating duration update | 24EMS34366
345 | PNM | Update on the ratings for the 230kV Whirlwind-Rattlesnake Line | 24EMS33888
346 | PNM_BA | Generator - Addition of Sky Ranch Solar | 23EMS32680
347 | PNM_BA | Generator - Addition of Sky Ranch Battery | 23EMS32681
348 | PNM_BA | Generator - Addition of Sky Ranch Solar | 23EMS32682
349 | PNM_BA | Generator - Addition of Sky Ranch Battery | 23EMS32683
350 | PNM_BA | Generator - Addition of Sky Ranch Solar | 23EMS32684
351 | PNM_BA | Substation\Load - Addition of Sun Ranch Substation | 23EMS32686
352 | PNM_BA | Substation\Load - Addition of Sun Ranch Substation | 23EMS32687
353 | PNM_BA | Substation\Load - Addition of Sun Ranch Substation | 23EMS32688
354 | PNM_BA | Breaker(s)\ Disconnect(s) - Add AS BESS Switch 89X | 23EMS33314
355 | PNM_BA | Breaker(s)\ Disconnect(s) - Add AS Switch 89B | 23EMS33315
356 | PNM_BA | Breaker(s)\ Disconnect(s) - Add AS Breaker 52T | 23EMS33316
357 | PNM_BA | Breaker(s)\ Disconnect(s) - Add AS Switch 89T | 23EMS33317
358 | PNM_BA | Breaker(s)\ Disconnect(s) - Add AS Switch 89L | 23EMS33318
359 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Psuedo SW4 | 23EMS33319
360 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Psuedo SW2 | 23EMS33320
361 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 21781 | 23EMS33321
362 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 21782 | 23EMS33322
363 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 21783 | 23EMS33323
364 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 22885 | 23EMS33324
365 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 22881 | 23EMS33325
366 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 18483 | 23EMS33326
367 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 18482 | 23EMS33327
368 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 18481 | 23EMS33328
369 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Psuedo SW3 | 23EMS33329
370 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 17385 | 23EMS33330
371 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 17381 | 23EMS33331
372 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 17382 | 23EMS33332
373 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Psuedo SW1 | 23EMS33333
374 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 17383 | 23EMS33334
375 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 20683 | 23EMS33335
376 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 20685 | 23EMS33336
377 | PNM_BA | Breaker(s)\ Disconnect(s) - Add PS Switch 2 | 23EMS33337
378 | PNM_BA | Breaker(s)\ Disconnect(s) - Add PS Switch 1 | 23EMS33338
379 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 58262 | 23EMS33339
380 | PNM_BA | Breaker(s)\ Disconnect(s) - Add67361 | 23EMS33340
381 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 59063 | 23EMS33341
382 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 59062 | 23EMS33342
383 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 59061 | 23EMS33343
384 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 58261 | 23EMS33344
385 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 66261 | 23EMS33345
386 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 58262 | 23EMS33346
387 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 58261 | 23EMS33347
388 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 61460 | 23EMS33348
389 | PNM_BA | Substation\Load - Add Atrisco BESS Aux Load | 23EMS33349
390 | PNM_BA | Contingency Definition - list the breaker that will be tripped in the event of a contingency | 23EMS33350
391 | PNM_BA | Transformer - Add Transformer | 23EMS33351
392 | PNM_BA | Generator - Add Atrisco Battery | 23EMS33352
393 | PNM_BA | Generator - Add Atrisco Solar | 23EMS33353
394 | PNM_BA | Breaker(s)\ Disconnect(s) - Add AS Solar Breaker 52F | 23EMS33354
395 | PNM_BA | Breaker(s)\ Disconnect(s) - Add AS Solar Switch 89X | 23EMS33355
396 | PNM_BA | Breaker(s)\ Disconnect(s) - Add AS BESS Breaker 52F | 23EMS33356
397 | PNM_BA | Breaker(s)\ Disconnect(s) - Add PS Switch 2 | 23EMS33357
398 | PNM_BA | Breaker(s)\ Disconnect(s) - Add PS Switch 1 | 23EMS33358
399 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 58262 | 23EMS33359
400 | PNM_BA | Breaker(s)\ Disconnect(s) - Add67361 | 23EMS33360
401 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 59063 | 23EMS33361
402 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 59062 | 23EMS33362
403 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 59061 | 23EMS33363
404 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 58261 | 23EMS33364
405 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 66261 | 23EMS33365
406 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 58262 | 23EMS33366
407 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 58261 | 23EMS33367
408 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 61460 | 23EMS33368
409 | PNM_BA | Substation\Load - Add Atrisco BESS Aux Load | 23EMS33369
410 | PNM_BA | Contingency Definition - list the breaker that will be tripped in the event of a contingency | 23EMS33370
411 | PNM_BA | Transformer - Add Transformer | 23EMS33371
412 | PNM_BA | Generator - Add Atrisco Battery | 23EMS33372
413 | PNM_BA | Generator - Add Atrisco Solar | 23EMS33373
414 | PNM_BA | Breaker(s)\ Disconnect(s) - Add AS Solar Breaker 52F | 23EMS33374
415 | PNM_BA | Breaker(s)\ Disconnect(s) - Add AS Solar Switch 89X | 23EMS33375
416 | PNM_BA | Breaker(s)\ Disconnect(s) - Add AS BESS Breaker 52F | 23EMS33376
417 | PNM_BA | Breaker(s)\ Disconnect(s) - Add AS BESS Switch 89X | 23EMS33377
418 | PNM_BA | Breaker(s)\ Disconnect(s) - Add AS Switch 89B | 23EMS33378
419 | PNM_BA | Breaker(s)\ Disconnect(s) - Add AS Breaker 52T | 23EMS33379
420 | PNM_BA | Breaker(s)\ Disconnect(s) - Add AS Switch 89T | 23EMS33380
421 | PNM_BA | Breaker(s)\ Disconnect(s) - Add AS Switch 89L | 23EMS33381
422 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Psuedo SW4 | 23EMS33382
423 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Psuedo SW2 | 23EMS33383
424 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 21781 | 23EMS33384
425 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 21782 | 23EMS33385
426 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 21783 | 23EMS33386
427 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 22885 | 23EMS33387
428 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 22881 | 23EMS33388
429 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 18483 | 23EMS33389
430 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 18482 | 23EMS33390
431 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 18481 | 23EMS33391
432 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Psuedo SW3 | 23EMS33392
433 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 17385 | 23EMS33393
434 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 17381 | 23EMS33394
435 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 17382 | 23EMS33395
436 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Psuedo SW1 | 23EMS33396
437 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 17383 | 23EMS33397
438 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 20683 | 23EMS33398
439 | PNM_BA | Breaker(s)\ Disconnect(s) - Add QR Switch 20685 | 23EMS33399
440 | PNM_BA | Substation\Load - Addition of San Juan North Bus, Solar, and BESS | 23EMS33573
441 | PNM_BA | Substation\Load - Addition of San Juan North Bus, Solar, and BESS | 23EMS33574
442 | PNM_BA | Generator - Addition of San Juan North Bus, Solar, and BESS | 23EMS33575
443 | PNM_BA | Substation\Load - Addition of San Juan North Bus, Solar, and BESS | 23EMS33576
444 | PNM_BA | Generator - Addition of Batttery Storage at Rio Del Oro | 23EMS33578
445 | PNM_BA | Generator - Addition of Batttery Storage at Rio Del Oro | 23EMS33579
446 | PNM_BA | Generator - Addition of Batttery Storage at Rio Del Oro | 23EMS33580
447 | PSCO_BA | CAWE,CANON | 23EMS32747
448 | PSCO_BA | PTZLOGAN equivalent model fix for generators. | 24EMS33969
449 | RDNG_TOP | Transmission Line | 24EMS34632
450 | SCL_BA | Breaker(s)\ Disconnect(s) - *Please Use SCL Model File Ver17 Updated.xml instead of the orginal SCL Model File Ver17.xml as the updated contains a small PMAX and D-DCurve update for resoruce BNDRYSCL_2_GEN54. SCADA Linking of breakers/disconnects at CEDFARFLS substation. Equipment Long names and line ratings have been updated in the RC data gathering template. Two contingencies referencing CEDARFLS breakers have been updated to reference the new breakers in the CEDARFLS 115kV ring bus. The PSEI equipment within the contingencies remain unchanged. | 24EMS33758
451 | SCL_TOP | Transmission Line - Updated RC Data Gathering Template for Ratings and Time durations for Transmission Equipment | 24EMS34621
452 | SNPD_TOP | Substation\Load - Revise in-service date for Phase 2; update summer and spring/fall ratings of the lines associated with Sky Valley Substation. | 23EMS29288
453 | SNPD_TOP | Shoofly Install\ Removal - Install a shoo-fly at Clearview | 23EMS32484
454 | SNPD_TOP | Shoofly Install\ Removal - Install a shoo-fly at Lake Goodwin Substation | 23EMS33131
455 | SPP_RC | SPP Incremental Updates for DB127 | 23EMS31670
456 | SPP_RC | Update SPP Pmax values | 24EMS34331
457 | SRP | The Branch to Eleven Mile has been moved from Bay 3 to Bay 2 | 24EMS34090
458 | SRP | Update Resource ID Names | 24EMS35072
459 | SRP_BA | Transmission Line - Lines and Buses for newly added SRP BA Assets | 23EMS33581
460 | SRP_BA | Substation\Load - Now an SRP Asset (Previously outside of SRP BA) | 23EMS33582
461 | SRP_BA | Generator - Added New SRP Assets (only new to SRP BA) | 23EMS33583
462 | SRP_BA | Transformer - Added 69/230kV XFMRs | 23EMS33584
463 | SRP_BA | Transmission Line - Added Prickly Pear Branches | 23EMS33585
464 | SRP_BA | Breaker(s)\ Disconnect(s) - Added Prickly Pear 230kV Portion | 23EMS33586
465 | SVP_TOP | Substation\Load - Add two conforming load TA and TB at Freedom Circle Junction 60 kV substation | 23EMS33410
466 | SVP_TOP | Transmission Line - Add Freedom Circle Junction to Norman Ave Junction 60 kV line | 23EMS33411
467 | SVP_TOP | Transmission Line - Add Agnew to Freedom Circle Junction 60 kV line | 23EMS33412
468 | SVP_TOP | Transmission Line - Remove existing Agnew to Norman Ave Junction 60 kV line | 23EMS33413
469 | SVP_TOP | Substation\Load - Add new Freedom Circle Junction 60 kV substation | 23EMS33414
470 | TEPC_TOP | Substation\Load - Meter points added for more measurements in the yard | 23EMS33168
471 | TEPC_TOP | Transformer - All transformers have been updated to reflect correct correct type assignment (fixed or LTC-V), tap step ratio, and control side. All transformers also now reflect their high side as the owner SBUS/"from" side, and the low side as the "to" side. This was done to standardize representation of transformers in TEPC company | 23EMS33169
472 | TEPC_TOP | Substation\Load - Inclusion of a portion of 14kv bus topology in VAIL, to correct for estimation issues seen internally. | 23EMS33170
473 | TEPC_TOP | Transmission Line - Tie between EASTLOOP and PATRIOT stations has been added, with relevant breakers and switches on the EASTLOOP side | 23EMS33171
474 | TEPC_TOP | Transformer - Pantano T2 has been added to PANTANO station | 23EMS33172
475 | TEPC_TOP | Breaker(s)\ Disconnect(s) - All SBus, breakers, loads, generators, shunts, and branches have had names updated to reflect a new 3 letter abbreviation standard. Station names themselves have not changed. This was done to get to a standardized naming convention within TEPC company | 23EMS33173
476 | TEPC_TOP | Substation\Load - Minor topological, some nodes were incorrect | 23EMS33400
477 | TEPC_TOP | Substation\Load - Meter points added for more measurements in the yard | 23EMS33401
478 | TEPC_TOP | Transformer - All transformers have been updated to reflect correct correct type assignment (fixed or LTC-V), tap step ratio, and control side. All transformers also now reflect their high side as the owner SBUS/"from" side, and the low side as the "to" side. Only exceptions to this high=from and low=to side are a the few transformers that also serve as tie points. This was done to standardize representation of transformers in TEPC company | 23EMS33402
479 | TEPC_TOP | Substation\Load - Inclusion of a portion of 14kv bus topology in VAIL, to correct for estimation issues seen internally. | 23EMS33403
480 | TEPC_TOP | Transmission Line - Tie between EASTLOOP and PATRIOT stations has been added, with relevant breakers and switches on the EASTLOOP side | 23EMS33404
481 | TEPC_TOP | Transformer - Pantano T2 has been added to PANTANO station | 23EMS33405
482 | TEPC_TOP | Breaker(s)\ Disconnect(s) - All SBus, breakers, loads, generators, shunts, and branches have had names updated to reflect a new 3 letter abbreviation standard. Station names themselves have not changed. This was done to get to a standardized naming convention within TEPC company | 23EMS33406
483 | TEPC_TOP | Update the new impedance values on CATRON station. | 24EMS35073
484 | TSGT_TOP | Transmission Line - Addition of transmission line between Escalante Solar and PEGS 230kV sub | 24EMS34156
485 | TSGT_TOP | Breaker(s)\ Disconnect(s) - Addition of circuit breaker 182 (and associated disconnects 185 and 183) to PEGS 230kV substation to facilitate addition of solar interconnection line. | 24EMS34157
486 | TSGT_TOP | Generator - Addition of Escalante Solar, a 200 MW solar plant, to PEGS 230kV Substation. | 24EMS34158
487 | WALC | Swapping lines at SUNDAN$$ station. | 23EMS32236
488 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33416
489 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33417
490 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33418
491 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33419
492 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33420
493 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33421
494 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33422
495 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33423
496 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33424
497 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33425
498 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33426
499 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33427
500 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33428
501 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33429
502 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33430
503 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33431
504 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33432
505 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33433
506 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33434
507 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33435
508 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33436
509 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33437
510 | WALC_TOP | Substation\Load - Reassign loads and switches between subregions. | 23EMS33438
511 | WALC_TOP | Transmission Line - Move tie to 115 KV Side | 23EMS33439
512 | WALC_TOP | Generator - Add new generation AZ Solar 2 | 23EMS33440
513 | WALC_TOP | Generator - Add new generation GT5 and GT6 | 23EMS33441
514 | WALC_TOP | Substation\Load - Add new Adonis substation | 23EMS33442